Skill 13-1

Evaluation Checklist

Objective 6:	Verify operational readiness of mobile water supply apparatus. [NFPA® 1002, 10.1.1]

| Student Name: |  | Date: |  |
| --- | --- | --- | --- |

Directions

For this skills evaluation checklist, students will verify operational readiness of mobile water supply apparatus. Remind students to always follow manufacturer’s recommendations and department standard operating procedures (SOPs).

Resources

| - Appropriate PPE - Mobile water supply apparatus - Department’s SOPs on mobile water supply apparatus - Necessary tools and equipment |  |
| --- | --- |

Criteria & Evaluation Comments

Criteria (determined by the AHJ)

After the candidate has completed the skill sheet, write comments below.

Evaluator/Candidate Comments

| Pass |  |  | Fail |  |
| --- | --- | --- | --- | --- |

| Evaluator Signature | Date |  | Student Signature | Date |
| --- | --- | --- | --- | --- |

Skills Evaluation Checklist

Objective 6:	Verify operational readiness of mobile water supply apparatus. [NFPA® 1002, 10.1.1]

NOTE: Always follow manufacturer recommendations for mobile water supply apparatus. The following lists items that should be checked on a mobile water supply apparatus, in addition to routine tests and inspections performed. Refer to your department’s SOPs for specific items on apparatus used in your department.

| Task Steps |  | Yes | No |
| --- | --- | --- | --- |
| 1. | Ensure that the water tank and other extinguishing levels are appropriate. |  |  |
| 2. | Ensure that the pumping system is operating correctly. |  |  |
| 3. | Ensure that the rapid dump system is operating correctly. |  |  |
| 4. | Ensure that the portable water tank and related water supply equipment are in operational condition. |  |  |
| 5. | Ensure that the foam system is operating correctly. |  |  |
| 6. | Report any deficiencies to the appropriate personnel. |  |  |
| 7. | Document any necessary inspections and corrections. |  |  |
| 8. | Properly store any tools and equipment used. |  |  |