Fire Inspector 1-Assignment #1

Utah Fire and Rescue Academy

September 2022

Assignment

Conduct two (2) actual inspections. Occupancies inspected must contain Fixed Fire Suppression System(s); one with a Water Based Fire Suppression System, the other with a Chemical Based Fire Suppression System (hood system).  One of these occupancies must have a Fire Alarm and Detection System.

Prepare an Inspection Report including; a completed inspection form, a letter, an inspection drawing and picture of the facility.  Document six code violations in this or other inspections. Take a picture of each violation and give the code reference, outline what corrective action needs to take place. Of these violations one must be electrical, one exiting, one fire sprinkler, one hazardous material and one vehicle access, and one from a chemical suppression system.

This project can be accomplished with multiple inspections if necessary. If multiple inspections are used, write your reports as if this were one inspection. Completion of this project is mandatory.

Requirements

- Complete the reports. Use a word processing program to type your reports.

- The reports should be single spaced.

- Your reports should be professional, accurate, and appropriate for submittal as legal documentation. You may use your department letterhead.  Letter should be formatted correctly.

- The hand-written portions of this project, i.e. the inspection form and the drawing, should be neat, and legible.

- Multiple pages shall be in the order outlined and stapled in the upper left hand corner. No folders.

- A digital report should be completed and sent in as one document.  Do not send multiple attachments for this assignment.

State Skill(s) 1,2,4,9,10,11,15

Check List

Conduct two (2) actual inspections. Which include:

- Fixed Fire Suppression System(s);

  - one with a Water Based Fire Suppression System,

  - the other with a Chemical Based Fire Suppression System (hood system).

- Fire Alarm and Detection System.

Prepare an Inspection Report including;

- Completed inspection form

- Letter.  Each violation should have its own paragraph.  State what the violation is, what the code states, and what they need to do to correct the violation.

- Inspection drawing

- Pictures of the facility

- Document six code violations in this or other inspections.

  - Take a picture of each violation and give the code reference, outline what corrective action needs to take place.

  - Of these violations one must be:

    - electrical,

    - one exiting,

    - one fire sprinkler,

    - one hazardous material,

    - one vehicle access,

    - one from a chemical suppression system.

Note: Proper formatting of letter is required.